Vastu/Nashik/03/2023/30563/46301                                                                       		23/37-494-CCV                                                			       Date: 23.03.2023

Structural Stability Report

This is to certify that the property bearing Residential Land and  Row House No.25, Ground + First Floor “Green Lawns Co-Operative Housing Society Ltd. Nashik” Survey  No. 555/1, Near Sarda Circle, Renuka Nagar , SingadaTalav, Gadkari Chowk, Village -Nashik, Taluka & District - Nashik, PIN Code - 422 011, State - Maharashtra, Country – India Belongs to  Mr. Rahul Chandrakant Shah & Mrs. Trupti Rahul Shah

This is to certify that on visual inspection, it appears that the structure of "Row House No.25."is in Good condition and the future life can be reasonably takes under Goodcondition and with proper periodic repairs & maintenance is about30years.

General Information:

| A. | Introduction |  |
| --- | --- | --- |
| 1 | Name of Building | “Green Lawns Co-Operative Housing Society Ltd.Nashik” |
| 2 | Property Address | Residential Land and Row House No. 25, Ground + First Floor “Green Lawns Co-Operative Housing Society Ltd. Nashik”, Survey No.555/1, Near Sarda Circle, Renuka Nagar, SingadaTalav,Gadkari Chowk, Village -Nashik, Taluka & District - Nashik, PIN Code - 422 011, State - Maharashtra, Country - India |
| 3 | Type of Building | Residential Land and Row House No. 25 |
| 4 | No. of Floors | Ground + First Floor |
| 5 | Whether stilt / podium / open parking provided | Covered Car Parking |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 6’ thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 1993 (As per Occupancy Certificate) |
| 11 | Present age of building | 30 years |
| 12 | Residual age of the building | 30 years Subject to proper,preventiveperiodic maintenance & structural repairs. |
| 13 | No. of Row House | Row House No. 25 |
| 14 | Methodology adopted | As per visual site inspection |

| B. | External Observation of the Building |  |
| --- | --- | --- |
| 1 | Plaster | Good |
| 2 | Chajjas | Good |
| 3 | Plumbing | Good |
| 4 | Cracks on the external walls | Not Found |
| 5 | Filling cracks on the external walls | Not Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not Found |
| 9 | Dampness external in the wall due to leakages | Not Found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the structure is in Good condition |
| C | Internal Observation of the common areas of the building and captioned premises |  |
| 1 | Beams (Cracks & Leakages) | Not found |
| 2 | Columns (Cracks & Leakages) | Not found |
| 3 | Ceiling (Cracks & Leakages) | Not found |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | External WallPlaster and Painting Condition is Good. |
| 6 | Maintenance of staircase & cracks | Good |

| D | Common Observation |  |
| --- | --- | --- |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | - |

| E | Conclusion |
| --- | --- |
| The captioned Row Houseis having Ground + First floor which are constructed in year 1993 (As per Occupancy Certificate).Estimated future life under present circumstances is about 30 years’ subject to proper, preventive periodic maintenance & structural repairs. The inspection dated 22.03.2023 reveals no structural damage or deterioration to the building. The building as well as the property is maintained in Goodcondition & will stand future life subject to proper, preventive periodic maintenance & Average structural repairs. Our Observations about the structure are given above. The above assessment is based on visual inspection only. |  |

## Manoj B. Chalikwar

Registered Valuer

Chartered Engineer (India)

Reg. No. CAT-I-F-1763

SBI Empanelment.:SME/TCC/2021-2022/86/3

Actual site Photographs