Vastu/Mumbai/03/2023/30630/46478

28/36-668-PSV

Date: 28.03.2023

**Structural Stability Report**

StructuralObservation Report of Residential Flat No. 1007, 10th Floor, Galaxy Building, **"Galaxy Co-Op. Hsg. Soc. Ltd."**, Srishti Complex, Opp. L & T Gate No. 7, Saki Vihar Road, Powai, Kurla (West), Mumbai – 400 072, State – Maharashtra, Country – India.

Name of Owner: **Mr. Sadananda V. Nayak & Mrs. Varsha S. Nayak**

Name of Proposed Purchaser: **Mr. Sujeet Muthu Madaparambil & Mrs. Mugdha Jayant Sathe**

This is to certify that on visual inspection, it appears that the structure at **"Galaxy Co-Op. Hsg. Soc. Ltd."**is in Normal condition and the future life can be reasonably takes under Normal condition and with proper periodic repairs & maintenance is about 43 years.

**General Information**:

|  |  |
| --- | --- |
| **A.** | **Introduction** |
| 1 | Name of Building | **"Galaxy Co-Op. Hsg. Soc. Ltd."** |
| 2 | Property Address | Residential Flat No. 1007, 10th Floor, Galaxy Building, **"Galaxy Co-Op. Hsg. Soc. Ltd."**, Srishti Complex, Opp. L & T Gate No. 7, Saki Vihar Road, Powai, Kurla (West), Mumbai – 400 072, State – Maharashtra, Country – India. |
| 3 | Type of Building | Residential  |
| 4 | No. of Floors | Stilt + 12 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Stilt Car Parking Space |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 2006 (As per Occupancy Certificate) |
| 11 | Present age of building | 17 years |
| 12 | Residual age of the building | 43 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of flats (Per Floor) | 7 Flats on 10thFloor |
| 14 | Methodology adopted | As per visual site inspection  |

|  |  |
| --- | --- |
| **B.** | **External Observation of the Building** |
| 1 | Plaster | Normal Condition |
| 2 | Chajjas | Normal Condition |
| 3 | Plumbing | Normal Condition |
| 4 | Cracks on the external walls | Not found |
| 5 | Filling cracks on the external walls | Not found |
| 6 | Cracks on columns & beams | Not found |
| 7 | Vegetation | Not found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not found |
| 9 | Dampness external in the wall due to leakages | Not found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the building is in good condition |
| **C** | **Internal Observation of the common areas of the building and captioned premises** |
| 1 | Beams (Cracks & Leakages) | Good Condition |
| 2 | Columns (Cracks & Leakages) | Good Condition |
| 3 | Ceiling (Cracks & Leakages) | Good Condition |
| 4 | Leakages inside the property | Not found |
| 5 | Painting inside the property | Normal |
| 6 | Maintenance of staircase & cracks | Normal |

|  |  |
| --- | --- |
| **D** | **Common Observation** |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules)  | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | No Structural Audit Report is furnished for the perusal |

|  |  |
| --- | --- |
| **E** | **Conclusion** |
| The captioned building is having Stilt + 12 Upper Floors which are constructed in year 2006 (As per Occupancy Certificate). Estimated future life under present circumstances is about 43 years subject to proper, preventive periodic maintenance & structural repairs.The inspection dated 26.03.2023 reveals no structural damage or deterioration to the building. The building as well as the property is maintained in normalcondition & will stand future life subject to proper, preventive periodic maintenance &Good structural repairs.Our Observations about the structure are given above.The above assessment is based on visual inspection only. |
|  |

## Manoj B. Chalikwar

Registered Valuer

Chartered Engineer (India)

Reg. No. CAT-I-F-1763

SBI Empanelment No.: SME/TCC/2021-22/86/3

**Actual site photographs**







