Vastu/Nashik/04/2023/30814/2300015                                         05-09-15-RPV                                                                                       Date: 05.04.2023

Structural Stability Report

Residential Flat No. D-10, 3rd Floor, "Tulsi Apartment Co. Op. Housing Society Ltd. Nashik", Pardi No. 3/2, Near Sita Gufaa, Panchavati, Village – Nashik, Taluka & District - Nashik, PIN Code – 422 003, State – Maharashtra, Country – India belongs to Smt. Anjali Arun Deo, Mr. Nitin Arun Deo & Smt. Pallavi Vishal Kulkarni (Pallavi Arun Deo).Name of Proposed Purchaser: Shri. Nilesh Bhanudas Gayake.

This is to certify that on visual inspection, it appears that the structure of "Tulsi Apartment Co. Op. Housing Society Ltd. Nashik" is in normal condition and the future life can be reasonably takes under normal condition and with proper periodic repairs & maintenance is about 25 years.

General Information:

| A. | Introduction |  |
| --- | --- | --- |
| 1 | Name of Building | "Tulsi Apartment Co. Op. Housing Society Ltd. Nashik" |
| 2 | Property Address | Residential Flat No. D-10, 3rd Floor, "Tulsi Apartment Co. Op. Housing Society Ltd. Nashik", Pardi No. 3/2, Near Sita Gufaa, Panchavati, Village – Nashik, Taluka & District - Nashik, PIN Code – 422 003, State – Maharashtra, Country – India. |
| 3 | Type of Building | Flat No. D-10 |
| 4 | No. of Floors | Ground + 4 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Open Car Parking |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 6’ thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 1988 (As per Occupancy Certificate) |
| 11 | Present age of building | 35 years |
| 12 | Residual age of the building | 25 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of Flats | 3 Flats on 3rd Floor |
| 14 | Methodology adopted | As per visual site inspection |

| B. | External Observation of the Building |  |
| --- | --- | --- |
| 1 | Plaster | Normal |
| 2 | Chajjas | Normal |
| 3 | Plumbing | Normal |
| 4 | Cracks on the external walls | Found |
| 5 | Filling cracks on the external walls | Found |
| 6 | Cracks on columns & beams | Found |
| 7 | Vegetation | Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Found |
| 9 | Dampness external in the wall due to leakages | Found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the structure is in Average condition |
| C | Internal Observation of the common areas of the building and captioned premises |  |
| 1 | Beams (Cracks & Leakages) | Not found |
| 2 | Columns (Cracks & Leakages) | Not found |
| 3 | Ceiling (Cracks & Leakages) | Not found |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | External Wall Plaster and Painting Condition is Normal. |
| 6 | Maintenance of staircase & cracks | Average |

| D | Common Observation |  |
| --- | --- | --- |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | - |

| E | Conclusion |
| --- | --- |
| The captioned Flat is having 3rd floor which are constructed in year 1988 (As per Occupancy Certificate). Estimated future life under present circumstances is about 25 years’ subject to proper, preventive periodic maintenance & structural repairs. The inspection dated 04.04.2023 reveals no structural damage or deterioration to the building. The building as well as the property is maintained in normal condition & will stand future life subject to proper, preventive periodic maintenance & Average structural repairs. Our Observations about the structure are given above. The above assessment is based on visual inspection only. |  |

## Sharadkumar B. Chalikwar

Govt. Reg. Valuer

Chartered Engineer (India)

Reg. No. (N) CCIT/1-14/52/2008-09

SBI Empanelment No.: SME/TCC/2021-22/85/13

Actual site photographs

Actual site photographs