Vastu/Mumbai/04/2023/31053/2300259
25/04-254-SBSH
		Date: 25.04.2023

Structural Stability Report

Structural Observation Report of Residential Flat No. 302, 3rd Floor, Wing – A, "Ashok Nagar Building No. 23 Co-op. Hsg. Soc. Ltd.", Prabhu Kunj Society, Opp. Jain Mandir, Kalyan Road, Village Kaneri, Bhiwandi, Thane – 421 302, State – Maharashtra, Country – India.

Name of Owners: Shri. Dinesh Kumar Lubchand Jain

This is to certify that on visual inspection, it appears that the structure of the Wing – A at "Ashok Nagar Building No. 23 Co-op. Hsg. Soc. Ltd." is in normal condition and the future life can be reasonably takes under good condition and with proper periodic repairs & maintenance is about 36 years.

General Information:

| A. | Introduction |  |
| --- | --- | --- |
| 1 | Name of Building | "Ashok Nagar Building No. 23 Co-op. Hsg. Soc. Ltd." |
| 2 | Property Address | Residential Flat No. 302, 3rd Floor, Wing – A, "Ashok Nagar Building No. 23 Co-op. Hsg. Soc. Ltd.", Prabhu Kunj Society, Opp. Jain Mandir, Kalyan Road, Village Kaneri, Bhiwandi, Thane – 421 302, State – Maharashtra, Country – India. |
| 3 | Type of Building | Residential used |
| 4 | No. of Floors | Stilt + 7 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Open / Covered Car Parking |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 1999 (As per site information) |
| 11 | Present age of building | 24 years |
| 12 | Residual age of the building | 36 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of flats (Per Floor) | 6 Flats on 3rd Floor |
| 14 | Methodology adopted | As per visual site inspection |

| B. | External Observation of the Building |  |
| --- | --- | --- |
| 1 | Plaster | Good Condition |
| 2 | Chajjas | Good Condition |
| 3 | Plumbing | Good Condition |
| 4 | Cracks on the external walls | Found |
| 5 | Filling cracks on the external walls | Not found |
| 6 | Cracks on columns & beams | Not found |
| 7 | Vegetation | Not found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not found |
| 9 | Dampness external in the wall due to leakages | Found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the building is in normal condition |
| C | Internal Observation of the common areas of the building and captioned premises |  |
| 1 | Beams (Cracks & Leakages) | Good Condition |
| 2 | Columns (Cracks & Leakages) | Good Condition |
| 3 | Ceiling (Cracks & Leakages) | Good Condition |
| 4 | Leakages inside the property | Not found |
| 5 | Painting inside the property | Good |
| 6 | Maintenance of staircase & cracks | Good |

| D | Common Observation |  |
| --- | --- | --- |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | No Structural Audit Report is furnished for the perusal |

| E | Conclusion |
| --- | --- |
| The captioned building is having Stilt + 7 Upper Floors which are constructed in year 1999 as per site information. Estimated future life under present circumstances is about 36 years subject to proper, preventive periodic maintenance & structural repairs. The inspection dated 21.04.2023 reveals no structural damage or deterioration to the building. The building as well as the property is maintained in normal condition & will stand future life subject to proper, preventive periodic maintenance & Good structural repairs. Our Observations about the structure are given above. The above assessment is based on visual inspection only. |  |

## Sharadkumar B. Chalikwar

Govt. Reg. Valuer

Chartered Engineer (India)

Reg. No. (N) CCIT/1-14/52/2008-09

BOB Empanelment No.: ZO:MZ:ADV:46:941

Actual Site Photographs

Actual Site Photographs