Vastu/Mumbai/05/2023/31157/2300420

04/09-41-JAVS

Date: 04.05.2023

**Structural Stability Report**

Structural Observation Report of Residential Flat No. 303, 3rd Floor, Wing - I, **"Gokul Galaxy 1, 2, 3, 4 Co-op. Hsg. Soc. Ltd."**, Thakur Complex, Village - Poisar, Taluka - Borivali, District - Mumbai Suburban, Kandivali (East), PIN - 400 101, State - Maharashtra, India.

Name of Owners: **Mr. Rajesh Ramasare Pandey, Mrs. Chanda Rajesh Pandey,**

 **Mr. Ankit Rajesh Pandey & Mr. Aniket Rajesh Pandey**

This is to certify that on visual inspection, it appears that the structure at **" Gokul Galaxy 1, 2, 3, 4 Co-op. Hsg. Soc. Ltd."** is in average condition and the future life can be reasonably takes under normal condition and with proper periodic repairs & maintenance is about 30 years.

**General Information**:

|  |  |
| --- | --- |
| **A.** | **Introduction** |
| 1 | Name of Building | **" New Omkar Co-op. Hsg. Soc. Ltd."** |
| 2 | Property Address | Residential Flat No. 303, 3rd Floor, Wing - I, **"Gokul Galaxy 1, 2, 3, 4 Co-op. Hsg. Soc. Ltd."**, Thakur Complex, Village - Poisar, Taluka - Borivali, District - Mumbai Suburban, Kandivali (East), PIN - 400 101, State - Maharashtra, Country - India. |
| 3 | Type of Building | Residential  |
| 4 | No. of Floors | Stilt + 7 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Stilt Car Parking |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 1993 (As per Occupancy Certificate) |
| 11 | Present age of building | 30 years |
| 12 | Residual age of the building | 30 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of flats (Per Floor) | 3rd Floor is having 4 Flats |
| 14 | Methodology adopted | As per visual site inspection  |

|  |  |
| --- | --- |
| **B.** | **External Observation of the Building** |
| 1 | Plaster | Good Condition |
| 2 | Chajjas | Good Condition |
| 3 | Plumbing | Good Condition |
| 4 | Cracks on the external walls | Minor Cracks Found |
| 5 | Filling cracks on the external walls | Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not Found |
| 9 | Dampness external in the wall due to leakages | Not Found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the building is averagely maintained.  |
| **C** | **Internal Observation of the common areas of the building and captioned premises** |
| 1 | Beams (Cracks & Leakages) | Not Found |
| 2 | Columns (Cracks & Leakages) | Not Found |
| 3 | Ceiling (Cracks & Leakages) | Not Found |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | Satisfactorily maintained |
| 6 | Maintenance of staircase & cracks | Satisfactorily maintained |

|  |  |
| --- | --- |
| **D** | **Common Observation** |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules)  | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | No Structural Audit Report is furnished for the perusal |

|  |  |
| --- | --- |
| **E** | **Conclusion** |
| The captioned building is having Stilt + 7 Upper Floors which are constructed in year 1993 as per Occupancy Certificate. Estimated future life under present circumstances is about 30 years subject to proper, preventive periodic maintenance & structural repairs.The inspection dated 26.04.2023 reveals no structural damage or deterioration to the building. The building as well as the property is maintained in average condition & will stand future life subject to proper, preventive periodic maintenance & Good structural repairs.Our Observations about the structure are given above.The above assessment is based on visual inspection only. |

## Manoj B. Chalikwar

Registered Valuer

Chartered Engineer (India)

Reg. No. CAT-I-F-1763

SBI Empanelment No.: SME/TCC/2021-22/86/3

**Actual site photographs**





