Vastu/Mumbai/07/2023/2579/2301575

15/15-200-PA

Date: 15.07.2023

**Structural Stability Report**

Structural Observation Report of Residential Flat No. 602, 6th Floor, Wing – A, **"Priti Palace "**, Dadabhai Cross Road No. 3, Vile Parle (West), Mumbai, PIN Code – 400 056, State – Maharashtra, Country – India.

Name of Owner: **Mr. Raman Roopchand Jain & Mrs. Kamni Raman Jain**

This is to certify that on visual inspection, it appears that the structure of “**Priti Palace"** is in normal condition and the future life can be reasonably takes under normal condition and with proper periodic repairs & maintenance is about 36 years.

**General Information**:

|  |  |
| --- | --- |
| **A.** | **Introduction** |
| 1 | Name of Building | **Priti Palace** |
| 2 | Property Address | Residential Flat No. 602, 6th Floor, Wing – A, **"Priti Palace"**, Dadabhai Cross Road No. 3, Vile Parle (West), Mumbai, PIN Code – 400 056, State – Maharashtra, Country – India |
| 3 | Type of Building | Residential used |
| 4 | No. of Floors | Stilt + 7 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Stilt Car Parking |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 1999 (As per Occupancy Certificate) |
| 11 | Present age of building | 24 Years |
| 12 | Residual age of the building | 36 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of flats (Per Floor) | 2 Flats on 6th Floor |
| 14 | Methodology adopted | As per visual site inspection  |

|  |  |
| --- | --- |
| **B.** | **External Observation of the Building** |
| 1 | Plaster | Good Condition |
| 2 | Chajjas | Good Condition |
| 3 | Plumbing | Good Condition |
| 4 | Cracks on the external walls | Not Found |
| 5 | Filling cracks on the external walls | Not Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not Found |
| 9 | Dampness external in the wall due to leakages | Not Found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the building is in Good condition |
| **C** | **Internal Observation of the common areas of the building and captioned premises** |
| 1 | Beams (Cracks & Leakages) | Good Condition |
| 2 | Columns (Cracks & Leakages) | Good Condition |
| 3 | Ceiling (Cracks & Leakages) | Good Condition |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | Normal |
| 6 | Maintenance of staircase & cracks | Normal |

|  |  |
| --- | --- |
| **D** | **Common Observation** |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules)  | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | No Structural Audit Report is furnished for the perusal |

|  |  |
| --- | --- |
| **E** | **Conclusion** |
| The captioned building is having Stilt + 7 Upper Floors which are constructed in year 1999 (As per Occupancy Certificate) Estimated future life under present circumstances is about 36 years’ subject to proper, preventive periodic maintenance & structural repairs.The inspection dated 02.06.2023 reveals no structural damage or deterioration to the building. The building as well as the property is maintained in normal condition & will stand future life subject to proper, preventive periodic maintenance & Good structural repairs.Our Observations about the structure are given above.The above assessment is based on visual inspection only. |

**Sharadkumar B. Chalikwar**

Govt. Reg. Valuer

Chartered Engineer (India)

Reg. No. (N) CCIT/1-14/52/2008-09

**Actual Site Photographs**



