Vastu/Mumbai/06/2023/002197/2301297

27/12-398-PA

Date: 27.06.2023

**Structural Stability Report**

Structural Observation Report of Residential Flat No. 503, 5th Floor, A - Wing, **“Riddhi Park A & D Co-op. Hsg. Soc. Ltd.”**, Cholegaon, Thakurli (East), Taluka – Kalyan, District – Thane, PIN Code – 421 201, State – Maharashtra, Country – India.

Name of Owner: **Mrs. Neeta Pramod Gawand**

This is to certify that on visual inspection, it appears that the structure of “**Riddhi Park A & D Co-op. Hsg. Soc. Ltd."** is in normal condition and the future life can be reasonably takes under normal condition and with proper periodic repairs & maintenance is about 41 years.

**General Information**:

|  |  |  |
| --- | --- | --- |
| **A.** | **Introduction** | |
| 1 | Name of Building | **Riddhi Park A & D Co-op. Hsg. Soc. Ltd.** |
| 2 | Property Address | Residential Flat No. 503, 5th Floor, A - Wing, **“Riddhi Park A & D Co-op. Hsg. Soc. Ltd.”**, Cholegaon, Thakurli (East), Taluka – Kalyan, District – Thane, PIN Code – 421 201, State – Maharashtra, Country – India |
| 3 | Type of Building | Residential used |
| 4 | No. of Floors | Ground + 6 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Open Car Parking |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 2004 (As per Part Occupancy Certificate) |
| 11 | Present age of building | 19 Years |
| 12 | Residual age of the building | 41 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of flats (Per Floor) | 3 Flats on 5th Floor |
| 14 | Methodology adopted | As per visual site inspection |

|  |  |  |
| --- | --- | --- |
| **B.** | **External Observation of the Building** | |
| 1 | Plaster | Normal Condition |
| 2 | Chajjas | Normal Condition |
| 3 | Plumbing | Normal Condition |
| 4 | Cracks on the external walls | Found |
| 5 | Filling cracks on the external walls | Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not Found |
| 9 | Dampness external in the wall due to leakages | Not Found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the building is in normal condition |
| **C** | **Internal Observation of the common areas of the building and captioned premises** | |
| 1 | Beams (Cracks & Leakages) | Normal Condition |
| 2 | Columns (Cracks & Leakages) | Normal Condition |
| 3 | Ceiling (Cracks & Leakages) | Normal Condition |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | Normal |
| 6 | Maintenance of staircase & cracks | Normal |

|  |  |  |
| --- | --- | --- |
| **D** | **Common Observation** | |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | No Structural Audit Report is furnished for the perusal |

|  |  |
| --- | --- |
| **E** | **Conclusion** |
| The captioned building is having Ground + 6 Upper Floors which are constructed in year 2004 (As per Part Occupancy Certificate). Estimated future life under present circumstances is about 41 years’ subject to proper, preventive periodic maintenance & structural repairs.  The inspection dated 29.07.2023 reveals no structural damage or deterioration to the building. The building as well as the property is maintained in normal condition & will stand future life subject to proper, preventive periodic maintenance & Good structural repairs.  Our Observations about the structure are given above.  The above assessment is based on visual inspection only. | |

## Manoj B. Chalikwar

Registered Valuer

Chartered Engineer (India)

Reg. No. CAT-I-F-1763

SBI Empanelment No.: SME/TCC/2021-22/86/3

**Actual Site Photographs**





**Actual Site Photographs**



