Vastu/Mumbai/09/2023/3554/2302404
04/16-48-PRSH
		Date: 04.09.2023

Structural Stability Report

Structural Observation Report of Residential Flat No. 203, 2nd Floor, Wing - A, Building No. EC-11, Florence, "Fairfield Co-Op. Hsg. Soc. Ltd.", Evershine City, Gokhivare, Village – Manikpur, Vasai (East), Palghar – 401 208, State – Maharashtra, Country – India.

Name of Owner: Mr. Unni Krishnan Nair

This is to certify that on visual inspection, it appears that the structure of the Wing – A at "Fairfield Co-Op. Hsg. Soc. Ltd." is in goodl condition and the future life can be reasonably takes under good condition and with proper periodic repairs & maintenance is about 30 years.

General Information:

| A. | Introduction |  |
| --- | --- | --- |
| 1 | Name of Building | "Fairfield Co-Op. Hsg. Soc. Ltd." |
| 2 | Property Address | Residential Flat No. 203, 2nd Floor, Wing - A, Building No. EC-11, Florence, "Fairfield Co-Op. Hsg. Soc. Ltd.", Evershine City, Gokhivare, Village – Manikpur, Vasai (East), Palghar – 401 208, State – Maharashtra, Country – India. |
| 3 | Type of Building | Residential used |
| 4 | No. of Floors | Ground + 3 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Open Car Parking |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 1993 (As per Occupancy Certificate) |
| 11 | Present age of building | 30 years |
| 12 | Residual age of the building | 30 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of flats (Per Floor) | 4 Flats on 2nd Floor |
| 14 | Methodology adopted | As per visual site inspection |

| B. | External Observation of the Building |  |
| --- | --- | --- |
| 1 | Plaster | Good Condition |
| 2 | Chajjas | Good Condition |
| 3 | Plumbing | Good Condition |
| 4 | Cracks on the external walls | Not found |
| 5 | Filling cracks on the external walls | Not found |
| 6 | Cracks on columns & beams | Not found |
| 7 | Vegetation | Not found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not found |
| 9 | Dampness external in the wall due to leakages | Not found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the building is in good condition |
| C | Internal Observation of the common areas of the building and captioned premises |  |
| 1 | Beams (Cracks & Leakages) | Good Condition |
| 2 | Columns (Cracks & Leakages) | Good Condition |
| 3 | Ceiling (Cracks & Leakages) | Good Condition |
| 4 | Leakages inside the property | Not found |
| 5 | Painting inside the property | Good |
| 6 | Maintenance of staircase & cracks | Good |

| D | Common Observation |  |
| --- | --- | --- |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | - No Structural Audit Report is furnished for the perusal. - As per site inspection, Residential Flat Nos. 203 & 204 is internally amalgamated with Single entrance. |

| E | Conclusion |
| --- | --- |
| The captioned building is having Ground + 3 Upper Floors which are constructed in year 1993 as per Occupancy certificate. Estimated future life under present circumstances is about 30 years subject to proper, preventive periodic maintenance & structural repairs. The inspection dated 26.07.2023 reveals no structural damage or deterioration to the building. The building as well as the property is maintained in good condition & will stand future life subject to proper, preventive periodic maintenance & Good structural repairs. Our Observations about the structure are given above. The above assessment is based on visual inspection only. |  |

## Sharadkumar B. Chalikwar

Govt. Reg. Valuer

Chartered Engineer (India)

Reg. No. (N) CCIT/1-14/52/2008-09

# Actual site photographs

# Actual site photographs