Vastu/Mumbai/10/2023/4263/2302886

07/03-83-NI

Date: 07.10.2023

Structural Stability Report

Structural Observation Report of Amalgamated Residential Flat Nos. B/2503/A & B/2503/B, 25th Floor, Wing - B, "Avalon Co-op. Hsg. Soc. Ltd.", Hiranandani Gardens, Powai, Mumbai, PIN Code - 400 076, State - Maharashtra, Country – India.

Name of Owner: Mr. Jayant Menon & Mrs. Priyanka Prabhakaran Kartha.

This is to certify that on visual inspection, it appears that the structure of the building "Avalon Co-op. Hsg. Soc. Ltd." is in normal condition and the future life can be reasonably takes under normal working condition and with proper periodic repairs & maintenance is about 40 years.

General Information:

| A. | Introduction |  |
| --- | --- | --- |
| 1 | Name of Building | "Avalon Co-op. Hsg. Soc. Ltd." |
| 2 | Property Address | Residential Flat Nos. B/2503/A & B/2503/B, 25th Floor, Wing - B, "Avalon Co-op. Hsg. Soc. Ltd.", Hiranandani Gardens, Powai, Mumbai, PIN Code - 400 076, State - Maharashtra, Country – India. |
| 3 | Type of Building | Residential use |
| 4 | No. of Floors | 2 Basement + Lobby + 33 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Along with One car Parking Space No. 26A & 26B |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both side plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 2003 (As per Occupancy Certificate) |
| 11 | Present age of building | 20 Years |
| 12 | Residual age of the building | 40 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of flats (Per Floor) | 4 flats |
| 14 | Methodology adopted | As per visual site inspection |

| B. | External Observation of the Building |  |
| --- | --- | --- |
| 1 | Plaster | Normal Condition |
| 2 | Chajjas | Normal Condition |
| 3 | Plumbing | Normal Condition |
| 4 | Cracks on the external walls | Not Found |
| 5 | Filling cracks on the external walls | Not Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not Found |
| 9 | Dampness external in the wall due to leakages | Not Found |
| 10 | Any other observation about the condition of external side of the building | The external condition is Normal |
| C | Internal Observation of the common areas of the building and captioned premises |  |
| 1 | Beams (Cracks & Leakages) | Normal Condition |
| 2 | Columns (Cracks & Leakages) | Normal Condition |
| 3 | Ceiling (Cracks & Leakages) | Normal Condition |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | Normal |
| 6 | Maintenance of staircase & cracks | Normal |

| D | Common Observation |  |
| --- | --- | --- |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per Bye Laws No. 77 of Co-Op. Societies Bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | No Structural Audit Report is furnished for the perusal |

| E | Conclusion |
| --- | --- |
| The captioned building is having 2 Basement + Lobby + 33 Upper Floors which is constructed in year 2003 (As per Occupancy Certificate). Estimated future life under present circumstances is about 40 years subject to proper, preventive periodic maintenance & structural repairs. The inspection dated 21.03.2023 reveals no structural damage or deterioration to the building. The building as well as the property is maintained Normal & will stand future life subject to proper, preventive periodic maintenance & structural repairs. Our Observations about the structure are given as above. ` The above assessment is based on visual inspection only. |  |

## Sharadkumar B. Chalikwar

Govt. Reg. Valuer

Chartered Engineer (India)

Reg. No. (N) CCIT/1-14/52/2008-09

SBI Empanelment No.: SME / TCC / 2016-17 / 156 / Sr. No. - 193

Actual Site Photographs