Vastu/Mumbai/10/2023/4530/2303133

21/02-330-PANI

Date: 21.10.2023

Structural Stability Report

Structural Observation Report of Residential Flat No. 905, 9th Floor, Wing - F, "Royal Aster", Plot No. A, B, C, D, E, Village - Kanjur, Kanjurmarg (West), Mumbai, Taluka – Kurla, District – Mumbai Suburban, PIN Code - 400 078, State - Maharashtra, India.

Name of Owner: Rashmi Dey & Mr. Subrata Kumar Dey.

Name of Proposed Purchaser: Mahesh Matekar.

This is to certify that on visual inspection, it appears that the structure of the at “Royal Aster" is in normal condition and the future life can be reasonably taken under npormal condition and with proper periodic repairs & maintenance is about 44 years.

General Information:

| A. | Introduction |  |
| --- | --- | --- |
| 1 | Name of Building | Royal Aster |
| 2 | Property Address | Residential Flat No. 905, 9th Floor, Wing - F, "Royal Aster", Plot No. A, B, C, D, E, Village - Kanjur, Kanjurmarg (West), Mumbai, Taluka – Kurla, District – Mumbai Suburban, PIN Code - 400 078, State - Maharashtra, India |
| 3 | Type of Building | Residential used |
| 4 | No. of Floors | 1 Basement + Ground + 10 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Along with One Car Parking Space |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 2007 (Approx.) |
| 11 | Present age of building | 16 Years |
| 12 | Residual age of the building | 44 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of flats (Per Floor) | 5 Flats on 9th Floor |
| 14 | Methodology adopted | As per visual site inspection |

| B. | External Observation of the Building |  |
| --- | --- | --- |
| 1 | Plaster | Normal Condition |
| 2 | Chajjas | Normal Condition |
| 3 | Plumbing | Normal Condition |
| 4 | Cracks on the external walls | Not Found |
| 5 | Filling cracks on the external walls | Not Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not Found |
| 9 | Dampness external in the wall due to leakages | Not Found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the building is in normal condition |
| C | Internal Observation of the common areas of the building and captioned premises |  |
| 1 | Beams (Cracks & Leakages) | Normal Condition |
| 2 | Columns (Cracks & Leakages) | Normal Condition |
| 3 | Ceiling (Cracks & Leakages) | Normal Condition |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | Normal |
| 6 | Maintenance of staircase & cracks | Normal |

| D | Common Observation |  |
| --- | --- | --- |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | No Structural Audit Report is furnished for the perusal |

| E | Conclusion |
| --- | --- |
| The captioned building is having 1 Basement + Ground + 10 Upper Floors which are constructed in year 2007 (Approx.) Estimated future life under present circumstances is about 44 years’ subject to proper, preventive periodic maintenance & structural repairs. The inspection dated 18.10.2023 reveals no structural damage or deterioration to the building. The building is well as the property is maintained in normal condition & will stand future life subject to proper, preventive periodic maintenance & normal structural repairs. Our Observations about the structure are given above. The above assessment is based on visual inspection only. Separate structural audit from licensed structural engineers is advised to assess exact balance life of structure. |  |

## Sharadkumar B. Chalikwar

Govt. Reg. Valuer

Chartered Engineer (India)

Reg. No. (N) CCIT/1-14/52/2008-09

BOB Empanelment No.: ZO:MZ:ADV:46:941

Actual Site Photographs