Vastu/Mumbai/11/2023/5171/2303134
21/03-331-JASH
		Date: 22.11.2023

Structural Stability Report

Structural Observation Report of Residential Flat No. 512, 5th Floor, Wing – A, Building No. 3, "Kumkum Co-op.

Hsg. Soc. Ltd.", Pratiksha Nagar, Village - Sion Koliwada, Sion (East), Taluka - Mumbai, District - Mumbai

Suburban, PIN - 400 022, State - Maharashtra, Country - India.

Name of Owner: Mr. Prashant Baburao Tupe

This is to certify that on visual inspection, it appears that the structure of the at “Kumkum Co-op. Hsg. Soc. Ltd.”, is in average condition and the future life can be reasonably taken under good condition and with proper periodic repairs & maintenance is about 42 years.

General Information:

| A. | Introduction |  |
| --- | --- | --- |
| 1 | Name of Building | “Kumkum Co-op. Hsg. Soc. Ltd.” |
| 2 | Property Address | Residential Flat No. 512, 5th Floor, Wing – A, Building No 3, "Kumkum Co-op. Hsg. Soc. Ltd.", Pratiksha Nagar, Village - Sion Koliwada, Sion (East), Taluka - Mumbai, District – Mumbai Suburban, PIN - 400 022, State – Maharashtra, Country – India. |
| 3 | Type of Building | Residential |
| 4 | No. of Floors | Ground + 7 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Open Car Parking Space |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 2005 (As per Possession Letter) |
| 11 | Present age of building | 18 Years |
| 12 | Residual age of the building | 42 Years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of flats (Per Floor) | 5th Floor is having 12 Flats |
| 14 | Methodology adopted | As per visual site inspection |

| B. | External Observation of the Building |  |
| --- | --- | --- |
| 1 | Plaster | Average Condition |
| 2 | Chajjas | Average Condition |
| 3 | Plumbing | Average Condition |
| 4 | Cracks on the external walls | Found |
| 5 | Filling cracks on the external walls | Not found |
| 6 | Cracks on columns & beams | Found |
| 7 | Vegetation | Not found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not found |
| 9 | Dampness external in the wall due to leakages | Yes, found |
| 10 | Any other observation about the condition of external side of the building | - At the time of site inspection, external condition of the building is average, dampness is found, leakages & cracks are found at many places. - Structural Stability Report from licensed structural engineers not provided for our verification. |
| C | Internal Observation of the common areas of the building and captioned premises |  |
| 1 | Beams (Cracks & Leakages) | Cracks & Leakages found at many places |
| 2 | Columns (Cracks & Leakages) | Cracks & Leakages found at many places |
| 3 | Ceiling (Cracks & Leakages) | Cracks & Leakages found at many places |
| 4 | Leakages inside the property | Found at many places |
| 5 | Painting inside the property | Averagely maintained |
| 6 | Maintenance of staircase & cracks | Averagely maintained |

| D | Common Observation |  |
| --- | --- | --- |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | No Structural Audit Report is furnished for the perusal. |

| E | Conclusion |
| --- | --- |
| The captioned building is having Ground + 7 Upper Floors which are constructed in year 2005 (as per Possession Letter). Estimated future life under present circumstances is about 42 years subject to proper, preventive periodic maintenance & structural repairs. The inspection dated 05.11.2023 reveals no structural damage or deterioration to the building. The building is well as the property is maintained in average condition & will stand future life subject to proper, preventive periodic maintenance & Good structural repairs. Our Observations about the structure are given above. The above assessment is based on visual inspection only. Separate structural audit from licensed structural engineers is advised to assess exact balance life of structure. |  |

## Sharadkumar B. Chalikwar

Govt. Reg. Valuer

Chartered Engineer (India)

Reg. No. (N) CCIT/1-14/52/2008-09

BOB Empanelment No.: ZO:MZ:ADV:46:941

Actual Site Photographs