Vastu/Mumbai/12/2023/5539/2303903

11/07-132-PA

Date: 11.12.2023

Structural Stability Report

Structural Observation Report of Residential Flat No. 403, 4th Floor, Building No L - 6, Wing - B, "Pratiksha Nagar Sindhudurg Co-op. Hsg. Soc. Ltd.", New MHADA Colony, Pratiksha Nagar, Village - Salt pan Division, Municipality Ward No. F/ North Ward, Sion (East), District - Mumbai District, Mumbai, PIN Code - 400 022, State - Maharashtra, India.

Name of Owner: Mrs. Vijaya Rajesh Golla & Mr. Pranay Rajesh Golla.

This is to certify that on visual inspection, it appears that the structure of the at “Pratiksha Nagar Sindhudurg Co-op. Hsg. Soc. Ltd." is in normal condition and the future life can be reasonably taken under good condition and with proper periodic repairs & maintenance is about 42 years.

General Information:

| A. | Introduction |  |
| --- | --- | --- |
| 1 | Name of Building | Pratiksha Nagar Sindhudurg Co-op. Hsg. Soc. Ltd. |
| 2 | Property Address | Residential Flat No. 403, 4th Floor, Building No L - 6, Wing - B, "Pratiksha Nagar Sindhudurg Co-op. Hsg. Soc. Ltd.", New MHADA Colony, Pratiksha Nagar, Village - Salt pan Division, Municipality Ward No. F/ North Ward, Sion (East), District - Mumbai District, Mumbai, PIN Code - 400 022, State - Maharashtra, India. |
| 3 | Type of Building | Residential used |
| 4 | No. of Floors | Ground + 7 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Open Car Parking |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 2005 (As per agreement) |
| 11 | Present age of building | 18 years |
| 12 | Residual age of the building | 42 years Subject to proper, preventive periodic maintenance & structural repairs |
| 13 | No. of flats (Per Floor) | 4th Floor is having 4 Flats |
| 14 | Methodology adopted | As per visual site inspection |

| B. | External Observation of the Building |  |
| --- | --- | --- |
| 1 | Plaster | Normal Condition |
| 2 | Chajjas | Normal Condition |
| 3 | Plumbing | Normal Condition |
| 4 | Cracks on the external walls | Not Found |
| 5 | Filling cracks on the external walls | Not Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not Found |
| 9 | Dampness external in the wall due to leakages | Not Found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the building is in normal condition |
| C | Internal Observation of the common areas of the building and captioned premises |  |
| 1 | Beams (Cracks & Leakages) | Normal Condition |
| 2 | Columns (Cracks & Leakages) | Normal Condition |
| 3 | Ceiling (Cracks & Leakages) | Normal Condition |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | Normal |
| 6 | Maintenance of staircase & cracks | Normal |

| D | Common Observation |  |
| --- | --- | --- |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | No Structural Audit Report is furnished for the perusal |

| E | Conclusion |
| --- | --- |
| The captioned building is having Ground + 7 Upper Floors which are constructed in year 2005 (As per agreement). Estimated future life under present circumstances is about 42 years’ subject to proper, preventive periodic maintenance & structural repairs. The inspection dated 22.11.2023 reveals no structural damage or deterioration to the building. The building is well as the property is maintained in normal condition & will stand future life subject to proper, preventive periodic maintenance & Good structural repairs. Our Observations about the structure are given above. The above assessment is based on visual inspection only. |  |

## Sharadkumar B. Chalikwar

Govt. Reg. Valuer

Chartered Engineer (India)

Reg. No. (N) CCIT/1-14/52/2008-09

BOB Empanelment No.: ZO:MZ:ADV:46:941

Actual Site Photographs