Vastu/Mumbai/12/2023/5979

29/11-488-PANI

Date: 31.08.2023

Structural Stability Report

Structural Observation Report of Residential Flat No. 302, 3rd Floor, Building No L4, Wing - A, "Ashwath Co-op. Hsg. Soc. Ltd.", Pratiksha Nagar, Sion Koliwada Road, Village - Salt Pan Division, Municipality Ward No. F – North Ward, Sion (East), District - Mumbai District, Mumbai, PIN Code - 400 022, State - Maharashtra, India.

Name of Owner: Shri. Vikas Ramesh Theek

This is to certify that on visual inspection, it appears that the structure of the at “Ashwath Co-op. Hsg. Soc. Ltd." is in normal condition and the future life can be reasonably taken under good condition and with proper periodic repairs & maintenance is about 43 years.

General Information:

| A. | Introduction |  |
| --- | --- | --- |
| 1 | Name of Building | Ashwath Co-op. Hsg. Soc. Ltd. |
| 2 | Property Address | Residential Flat No. 302, 3rd Floor, Building No L4, Wing - A, "Ashwath Co-op. Hsg. Soc. Ltd.", Pratiksha Nagar, Sion Koliwada Road, Village - Salt Pan Division, Municipality Ward No. F – North Ward, Sion (East), District - Mumbai District, Mumbai, PIN Code - 400 022, State - Maharashtra, India |
| 3 | Type of Building | Residential used |
| 4 | No. of Floors | Ground + 7 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Open Car Parking |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 2006 (As per Possession Letter) |
| 11 | Present age of building | 17 years |
| 12 | Residual age of the building | 43 years Subject to proper, preventive periodic maintenance & structural repairs |
| 13 | No. of flats (Per Floor) | 3rd Floor is having 4 Flats |
| 14 | Methodology adopted | As per visual site inspection |

| B. | External Observation of the Building |  |
| --- | --- | --- |
| 1 | Plaster | Normal Condition |
| 2 | Chajjas | Normal Condition |
| 3 | Plumbing | Normal Condition |
| 4 | Cracks on the external walls | Minor cracks were found at some places |
| 5 | Filling cracks on the external walls | Not Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not Found |
| 9 | Dampness external in the wall due to leakages | Not Found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the building is in normal condition |
| C | Internal Observation of the common areas of the building and captioned premises |  |
| 1 | Beams (Cracks & Leakages) | Normal Condition |
| 2 | Columns (Cracks & Leakages) | Normal Condition |
| 3 | Ceiling (Cracks & Leakages) | Normal Condition |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | Normal |
| 6 | Maintenance of staircase & cracks | Normal |

| D | Common Observation |  |
| --- | --- | --- |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | No Structural Audit Report is furnished for the perusal |

| E | Conclusion |
| --- | --- |
| The captioned building is having Ground + 7 Upper Floors which are constructed in year 2006 (As per Possession Letter). Estimated future life under present circumstances is about 43 years’ subject to proper, preventive periodic maintenance & structural repairs. The inspection dated 23.12.2023 reveals no structural damage or deterioration to the building. The building is well as the property is maintained in normal condition & will stand future life subject to proper, preventive periodic maintenance & Good structural repairs. Our Observations about the structure are given above. The above assessment is based on visual inspection only. |  |

# Sharadkumar B. Chalikwar

# Registered Valuer

# Chartered Engineer (India)

# Reg. No. CAT-I-F-1763

# Cosmos Emp. No. H.O./Credit/67/2019-20

Actual Site Photographs