Vastu/Thane/01/2024/6616/2304685

25/19-387 -PSRJ

Date: 30.01.2024

Structural Stability Report

Structural Observation Report of Residential Flat No. 4, 1st Floor, "Anjana", Anjana Co-Op. Hsg. Soc. Ltd., Behind Bharat English High School, Kopri Colony, S. T. Road, Village - Kopri, Taluka - Thane, District - Thane, Thane (East), PIN Code - 400 603, State - Maharashtra, India.

Name of Owner: Mrs. Sneha Rajkishore Lalchandani. Name of Proposed Purchaser is Mr. Rahul Ramchandra Sonawane & Mrs. Kamini Rahul Sonawane.

This is to certify that on visual inspection, it appears that the structure of the at "Anjana" is in good condition and the future life can be reasonably taken under good condition and with proper periodic repairs & maintenance is about 18 years.

General Information:

| A. | Introduction |  |
| --- | --- | --- |
| 1 | Name of Building | Anjana |
| 2 | Property Address | Residential Flat No. 4, 1st Floor, "Anjana", Anjana Co-Op. Hsg. Soc. Ltd., Behind Bharat English High School, Kopri Colony, S. T. Road, Village - Kopri, Taluka - Thane, District - Thane, Thane (East), PIN Code - 400 603, State - Maharashtra, India. |
| 3 | Type of Building | Residential used |
| 4 | No. of Floors | Ground + 4 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Open Parking |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 1981 (As per occupancy certificate) |
| 11 | Present age of building | 42 years |
| 12 | Residual age of the building | 18 years Subject to proper, preventive periodic maintenance & structural repairs |
| 13 | No. of flats (Per Floor) | 1st Floor is having 2 Flats |
| 14 | Methodology adopted | As per visual site inspection |

| B. | External Observation of the Building |  |
| --- | --- | --- |
| 1 | Plaster | Normal Condition |
| 2 | Chajjas | Normal Condition |
| 3 | Plumbing | Normal Condition |
| 4 | Cracks on the external walls | Not Found |
| 5 | Filling cracks on the external walls | Not Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not Found |
| 9 | Dampness external in the wall due to leakages | Not Found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the building is in good condition. |
| C | Internal Observation of the common areas of the building and captioned premises |  |
| 1 | Beams (Cracks & Leakages) | Cracks were found |
| 2 | Columns (Cracks & Leakages) | Cracks were found |
| 3 | Ceiling (Cracks & Leakages) | Cracks were found |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | Good |
| 6 | Maintenance of staircase & cracks | Good |

| D | Common Observation |  |
| --- | --- | --- |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | No Structural Audit Report is furnished for the perusal |

| E | Conclusion |
| --- | --- |
| The captioned building is having Ground + 4 Upper Floors which are constructed in year 1981 (As per occupancy certificate). Estimated future life under present circumstances is about 18 years subject to proper, preventive periodic maintenance & structural repairs. The inspection dated 01.12.2023 reveals no structural damage or deterioration to the building. The building is well as the property is maintained in good condition & will stand future life subject to proper, preventive periodic maintenance & Good structural repairs. Our Observations about the structure are given above. The above assessment is based on visual inspection only. |  |

Manoj Chalikwar

Govt. Reg. Valuer

Chartered Engineer (India)

Reg. No. IBBI/RV/07/2018/10366

State Bank of India Empanelment No.: SME/TCC/2021-22/86/3

Actual Site Photographs

Actual Site Photographs