Vastu/Mumbai/02/2024/007070/2305061

20/15-283-NI

Date: 20.02.2024

Structural Stability Report

Structural Observation Report of Residential Flat No. 10, 2nd Floor, Building No AL / 5 - 21, "Shiv Vaibhav Apartment Owners Association Limited", Plot No. 11, Sector 16, CIDCO Colony, Village - Airoli, Navi Mumbai, Taluka - Thane, District - Thane, PIN Code - 400 708, State - Maharashtra, India.

Name of Owner: Smt. Deepika Deepak Golatkar & Mr. Saurabh Deepak Golatkar.

This is to certify that on visual inspection, it appears that the structure of the at “Shiv Vaibhav Apartment Owners Association Limited." is in normal condition and the future life can be reasonably taken under normal condition and with proper periodic repairs & maintenance is about 24 years.

General Information:

| A. | Introduction |  |
| --- | --- | --- |
| 1 | Name of Building | Shiv Vaibhav Apartment Owners Association Limited |
| 2 | Property Address | Residential Flat No. 10, 2nd Floor, Building No AL / 5 - 21, "Shiv Vaibhav Apartment Owners Association Limited", Plot No. 11, Sector 16, CIDCO Colony, Village - Airoli, Navi Mumbai, Taluka - Thane, District - Thane, PIN Code - 400 708, State - Maharashtra, India. |
| 3 | Type of Building | Residential used |
| 4 | No. of Floors | Ground + 03 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Open Parking Space |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 1988 (Approx.) |
| 11 | Present age of building | 36 years |
| 12 | Residual age of the building | 24 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of flats (Per Floor) | 2nd Floor is having 04 Flats |
| 14 | Methodology adopted | As per visual site inspection |

| B. | External Observation of the Building |  |
| --- | --- | --- |
| 1 | Plaster | Normal Condition |
| 2 | Chajjas | Normal Condition |
| 3 | Plumbing | Normal Condition |
| 4 | Cracks on the external walls | Not Found |
| 5 | Filling cracks on the external walls | Not Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not Found |
| 9 | Dampness external in the wall due to leakages | Not Found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the building is in normal condition |
| C | Internal Observation of the common areas of the building and captioned premises |  |
| 1 | Beams (Cracks & Leakages) | Normal Condition |
| 2 | Columns (Cracks & Leakages) | Normal Condition |
| 3 | Ceiling (Cracks & Leakages) | Normal Condition |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | Normal |
| 6 | Maintenance of staircase & cracks | Normal |

| D | Common Observation |  |
| --- | --- | --- |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | No Structural Audit Report is furnished for the perusal |

| E | Conclusion |
| --- | --- |
| The captioned building is having Ground + 03 Upper Floors which are constructed in year 1988 (Approx.). Estimated future life under present circumstances is about 24 Years subject to proper, preventive periodic maintenance & structural repairs. The inspection dated 17.02.2024 reveals no structural damage or deterioration to the building. The building is well as the property is maintained in normal condition & will stand future life subject to proper, preventive periodic maintenance & normal structural repairs. Our Observations about the structure are given above. The above assessment is based on visual inspection only. |  |

Manoj Chalikwar

Govt. Reg. Valuer

Chartered Engineer (India)

Reg. No. IBBI/RV/07/2018/10366

State Bank of India Empanelment No.: SME/TCC/2021-22/86/3

Actual Site Photographs