Vastu/Mumbai/04/2024/8415/2306022

19/17-161-PSVS

Date: 26.04.2024

Structural Stability Report

Structural Observation Report of Residential Flat No. 1103, 11th Floor, Building No 1, Wing - A, "Panchvati A Wing Co-Op. Hsg. Soc. Ltd.", Near S. M. Shetty School, Panch Shrishti Complex, Village - Chandivali, Taluka - Kurla, District - Mumbai Suburban, Powai, PIN Code - 400 072, State - Maharashtra, India.

Name of Owner: Mr. Pawan U. Jain & Mrs. Mamta P. Jain

This is to certify that on visual inspection, it appears that the structure of the at "Panchvati A Wing Co-Op. Hsg. Soc. Ltd." is in good condition and the future life can be reasonably taken under good condition and with proper periodic repairs & maintenance is about 41 years.

General Information:

| A. | Introduction |  |
| --- | --- | --- |
| 1 | Name of Building | "Panchvati A Wing Co-Op. Hsg. Soc. Ltd." |
| 2 | Property Address | Residential Flat No. 1103, 11th Floor, Building No 1, Wing - A, "Panchvati A Wing Co-Op. Hsg. Soc. Ltd.", Near S. M. Shetty School, Panch Shrishti Complex, Village - Chandivali, Taluka - Kurla, District - Mumbai Suburban, Powai, PIN Code - 400 072, State - Maharashtra, India. |
| 3 | Type of Building | Residential used |
| 4 | No. of Floors | Stilt + 15 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Stilt / Open Parking |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 2005 (As per Occupancy Certificate) |
| 11 | Present age of building | 19 years |
| 12 | Residual age of the building | 41 years Subject to proper, preventive periodic maintenance & structural repairs |
| 13 | No. of flats (Per Floor) | 11th Floor is having 6 Flats |
| 14 | Methodology adopted | As per visual site inspection |

| B. | External Observation of the Building |  |
| --- | --- | --- |
| 1 | Plaster | Good Condition |
| 2 | Chajjas | Good Condition |
| 3 | Plumbing | Good Condition |
| 4 | Cracks on the external walls | Not Found |
| 5 | Filling cracks on the external walls | Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not Found |
| 9 | Dampness external in the wall due to leakages | Not Found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the building is in good condition |
| C | Internal Observation of the common areas of the building and captioned premises |  |
| 1 | Beams (Cracks & Leakages) | Good Condition |
| 2 | Columns (Cracks & Leakages) | Good Condition |
| 3 | Ceiling (Cracks & Leakages) | Good Condition |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | Good |
| 6 | Maintenance of staircase & cracks | Good |

| D | Common Observation |  |
| --- | --- | --- |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | No Structural Audit Report is furnished for the perusal |

| E | Conclusion |
| --- | --- |
| The captioned building is having Stilt + 15 Upper Floors which are constructed in year 2005 (As per occupancy certificate). Estimated future life under present circumstances is about 41 years’ subject to proper, preventive periodic maintenance & structural repairs. The inspection dated 23.04.2024 reveals no structural damage or deterioration to the building. The building is well as the property is maintained in good condition & will stand future life subject to proper, preventive periodic maintenance & Good structural repairs. Our Observations about the structure are given above. The above assessment is based on visual inspection only. |  |

# Sharadkumar B. Chalikwar

# Structural Engineer Licence No. STATE/R/2022/APL/01785

# Govt. Reg. Valuer

# Chartered Engineer (India)

# Reg No. (N) CCIT/1-14/52/2008-09

# SBI Empanelment No.: SME / TCC / 2021 – 22 / 85 / 13

Actual Site Photographs

Actual Site Photograph