Load bearing structure

- The Building has completed its Design Life.

- Total Life span of Loadbearing structure is considered 50 years, but life of building is already 84 years. As per site inspection, Future life can be 3 to 5 years, Subject to proper, preventive periodic maintenance and structural repairs.

- As per site inspection, residential premises used as commercial office.

- Unit No. 13 & 15 are internally connected to form a duplex unit.

- As per approved plan, unit no 13 consists of 2 Rooms + Kitchen and unit no 15 consists of 2 Rooms + Kitchen, but the owner has inter connected both the unit through wooden staircase which is not shown in the approved plan.