Vastu/Mumbai/08/2024/010802/2307930  
29/13-408-SKVS  
 Date: 29.08.2024

**Structural Stability Report**

Structural Observation Report Residential Flat No. 07, 1st Floor, **“Sneh Sadan Co-op. Hsg. Soc. Ltd.”,** Plot No. 180, Sion Matunga Estate (West), Sion (West), Mumbai – 400022, State - Maharashtra, Country - India.

Name of Owner: **Mr. Amin Chimanlal Shah**

**Singh**

This is to certify that on visual inspection, it appears that the structure at **“Sneh Sadan Co-op. Hsg. Soc. Ltd.”** is in normal condition and the future life can be reasonably taken under normal condition and with proper periodic repairs & maintenance is about 6 years.

**General Information**:

|  |  |  |
| --- | --- | --- |
| **A.** | **Introduction** | |
| 1 | Name of Building | **“Sneh Sadan Co-op. Hsg. Soc. Ltd.”** |
| 2 | Property Address | Residential Flat No. 07, 1st Floor, **“Sneh Sadan Co-op. Hsg. Soc. Ltd.”,** Plot No. 180, Sion Matunga Estate (West), Sion (West), Mumbai – 400022, State - Maharashtra, Country - India |
| 3 | Type of Building | Residential |
| 4 | No. of Floors | Ground + 3 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | No Parking Space available at site |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 1970 (Approx.) |
| 11 | Present age of building | 54 years |
| 12 | Residual age of the building | 6 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of flats (Per Floor) | 1st Floor is having 3 Flats |
| 14 | Methodology adopted | As per visual site inspection |

|  |  |  |
| --- | --- | --- |
| **B.** | **External Observation of the Building** | |
| 1 | Plaster | Normal Condition |
| 2 | Chajjas | Normal Condition |
| 3 | Plumbing | Normal Condition |
| 4 | Cracks on the external walls | Minor cracks found |
| 5 | Filling cracks on the external walls | Minor cracks found |
| 6 | Cracks on columns & beams | Minor cracks found |
| 7 | Vegetation | Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Found |
| 9 | Dampness external in the wall due to leakages | Not Found |
| 10 | Any other observation about the condition of external side of the building | Structural Stability Report from licensed structural engineers not provided for our verification. |
| **C** | **Internal Observation of the common areas of the building and captioned premises** | |
| 1 | Beams (Cracks & Leakages) | Minor Cracks Found |
| 2 | Columns (Cracks & Leakages) | Minor Cracks Found |
| 3 | Ceiling (Cracks & Leakages) | Not Found |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | Normal Condition |
| 6 | Maintenance of staircase & cracks | Normal |

|  |  |  |
| --- | --- | --- |
| **D** | **Common Observation** | |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | **Structural Stability Report from licensed structural engineers not provided for our verification.** |

|  |  |
| --- | --- |
| **E** | **Conclusion** |
| The captioned building is having Ground + 3 Upper Floors which are constructed in year 1970 (Approx.). Estimated future life under present circumstances is about 6 years subject to proper, preventive periodic maintenance & structural repairs.  The inspection dated 27.08.2024 of building. The building is well as the property is maintained in normal condition & will stand future life subject to proper, preventive periodic maintenance & Good structural repairs.  Our Observations about the structure are given above.  The above assessment is based on visual inspection only. Separate structural audit from licensed structural engineers is advised to assess exact balance life of structure. | |

## Sharadkumar B. Chalikwar

Structural Engineer Licence No. STATE/R/2022/APL/01785

Govt. Reg. Valuer

Chartered Engineer (India)

Reg. No. (N) CCIT/1-14/52/2008-09

UBI Empanelment No.: ROS:ADV:Valuer/033:008:2021-22

**Actual site photographs**



