Vastu/Nashik/01/2024/006414/2304574

18/5-276-RYRJ

Date: 27.08.2024

Structural Stability Report

Residential Flat No. 2, 1st Floor, Wing - B, "Om Dhanashree Co.Op.Hsg.Soc.Ltd.Nashik", Behind Vasu Hospital, Plot No. 6+7, Shree Dwarka Nagari, Panchavati Road, Adgoan Naka, Village - Nashik, Taluka - Nashik, District - Nashik, Nashik, 422003 belongs to Rupali Nilesh Jathar. Name of Proposed Purchaser is Shri.Naresh Jagan Thosare.

This is to certify that on visual inspection, it appears that the structure of " Om Dhanashree Co.Op.Hsg.Soc.Ltd.Nashik "is in Normal condition and the future life can be reasonably takes under Good condition and with proper periodic repairs & maintenance is about 29 years.

General Information:

| A. | Introduction |  |
| --- | --- | --- |
| 1 | Name of Building | " Om Dhanashree Co.Op.Hsg.Soc.Ltd.Nashik. " |
| 2 | Property Address | Residential Flat No. 2, 1st Floor, Wing - B, "Om Dhanashree Co.Op.Hsg.Soc.Ltd.Nashik", Behind Vasu Hospital, Plot No. 6+7, Shree Dwarka Nagari, Panchavati Road, Adgoan Naka, Village - Nashik, Taluka - Nashik, District - Nashik, Nashik, 422003 |
| 3 | Type of Building | Flat No.2 |
| 4 | No. of Floors | Ground + Second Floor |
| 5 | Whether stilt / podium / open parking provided | Covered Car Parking |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 6’ thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 1993 ( Approx. ) |
| 11 | Present age of building | 31 years |
| 12 | Residual age of the building | 29 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of Flats | 4 Flats on First Floor |
| 14 | Methodology adopted | As per visual site inspection |

| B. | External Observation of the Building |  |
| --- | --- | --- |
| 1 | Plaster | Good |
| 2 | Chajjas | Good |
| 3 | Plumbing | Good |
| 4 | Cracks on the external walls | Not Found |
| 5 | Filling cracks on the external walls | Not Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not Found |
| 9 | Dampness external in the wall due to leakages | Not Found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the structure is in Good condition |
| C | Internal Observation of the common areas of the building and captioned premises |  |
| 1 | Beams (Cracks & Leakages) | Not found |
| 2 | Columns (Cracks & Leakages) | Not found |
| 3 | Ceiling (Cracks & Leakages) | Not found |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | Good |
| 6 | Maintenance of staircase & cracks | Good |

| D | Common Observation |  |
| --- | --- | --- |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | - |

| E | Conclusion |
| --- | --- |
| The captioned Flat is having Ground floor which are constructed in year 1993 ( Approx). Estimated future life under present circumstances is about 29 years’ subject to proper, preventive periodic maintenance & structural repairs. The inspection dated 27.08.2024 reveals no structural damage or deterioration to the building. The building as well as the property is maintained in normal condition & will stand future life subject to proper, preventive periodic maintenance & Average structural repairs. Our Observations about the structure are given above. The above assessment is based on visual inspection only. |  |
| Sharadkumar B. Chalikwar Govt. Reg. Valuer Chartered Engineer (India) Reg. No. (N) CCIT/1-14/52/2008-09 Encl: Valuation report |  |