- As per approved plan, there are 8 Flats per floor, but as per site the society has created two wings i.e. A & B.

- A Wing as per plan was numbered Flat No. 5, 6, 7 & 8 but as per site there are 5 Flats per on 3rd Floor.

- Flat No. 8 as per approved plan is subdivided to form two flats as follows:

| Flat No. (As per Approved Plan) | Flat No. (As per site) | Remarks |
| --- | --- | --- |
| 8 | 1 | As per approved plan, flat is 1BHK Flat, but as per site flat is subdivided and Bedroom and Toilet is converted into 1 Room + Toilet. |
|  | 2 | As per approved plan, flat is 1BHK Flat, but as per site flat is subdivided and Living + Kitchen + Toilet is converted into 1 Room + Kitchen + Toilet. |