Vastu/Nashik/09/2024/011454 /2308343 25/1-349-RPBS Date: 24.09.2024

**Structural Stability Report**

Residential Land and Bungalow on **Plot No.202**,Ground Floor, Survey No.307B+308A, Near Saigram Garden, Saigram Nagar, Upendra Nagar Colony, Ambad Uttam Nagar Link Road, Village - Ambadkhurd, Taluka - Nashik, District – Nashik, PIN Code – 422 010, State – Maharashtra, Country – India. belongs to **Shri. Rahul Samadhan Pawar & Shri. Samadhan Karbhari Pawar**

This is to certify that on visual inspection, it appears that the structure of **"** **Bungalow on Plot No.202"** is in normal condition and the future life can be reasonably takes under normal condition and with proper periodic repairs & maintenance is about 35 years.

**General Information**:

|  |  |  |
| --- | --- | --- |
| **A.** | **Introduction** | |
| 1 | Name of Building | **" Bungalow on Plot No.202"** |
| 2 | Property Address | Residential Land and Bungalow on **Plot No.202**,Ground Floor, Survey No.307B+308A, Near Saigram Garden , Saigram Nagar, Upendra Nagar Colony, Ambad Uttam Nagar Link Road, Village - Ambadkhurd, Taluka - Nashik, District – Nashik, PIN Code – 422 010, State – Maharashtra, Country – India |
| 3 | Type of Building | Residential Land and Bungalow on **Plot No.202** |
| 4 | No. of Floors | Ground Floor |
| 5 | Whether stilt / podium / open parking provided | Open Car Parking |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 6’ thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 1999 (As per Full Occupancy Certificate) |
| 11 | Present age of building | 25 years |
| 12 | Residual age of the building | 35 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of Units | Residential Land and Bungalow on **Plot No.202** |
| 14 | Methodology adopted | As per visual site inspection |

|  |  |  |
| --- | --- | --- |
| **B.** | **External Observation of the Building** | |
| 1 | Plaster | Good |
| 2 | Chajjas | Good |
| 3 | Plumbing | Good |
| 4 | Cracks on the external walls | Not Found |
| 5 | Filling cracks on the external walls | Not Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not Found |
| 9 | Dampness external in the wall due to leakages | Found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the structure is in Good condition |
| **C** | **Internal Observation of the common areas of the building and captioned premises** | |
| 1 | Beams (Cracks & Leakages) | Not found |
| 2 | Columns (Cracks & Leakages) | Not found |
| 3 | Ceiling (Cracks & Leakages) | Not found |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | Good |
| 6 | Maintenance of staircase & cracks | Good |

|  |  |  |
| --- | --- | --- |
| **D** | **Common Observation** | |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | - |

|  |  |
| --- | --- |
| **E** | **Conclusion** |
| The captioned Flat is having Groundfloor which are constructed in year 1999 (As per Possession Receipt). Estimated future life under present circumstances is about 35 years’ subject to proper, preventive periodic maintenance & structural repairs.  The inspection dated 16.09.2024 reveals no structural damage or deterioration to the building. The building as well as the property is maintained in normal condition & will stand future life subject to proper, preventive periodic maintenance & Average structural repairs.  Our Observations about the structure are given above.  The above assessment is based on visual inspection only. | |

## Sharadkumar B. Chalikwar

Structural Engineer Licence No. STATE/R/2022/APL/01785

Govt. Reg. Valuer

Chartered Engineer (India)

Reg No. (N) CCIT/1-14/52/2008-09

Bank Of Baroda Empanelment No.: ZO:MZ: ADV:44:620

# ACTUAL SITE PHOTOGRAPHS









