Vastu/Nashik/02/2025/011193 /2308160 13/13-166-RPBS Date: 13.02.2025

**Structural Stability Report**

Residential Land and House on **Tenement No. N-53/ VH/ 29/ 04**, Ground Floor, Fifth Scheme, Neighborhood Vaishakh Sector VH, Near Shree Swami Samarth Kendra - Patil Nagar, Trimurti Chowk, off Ambad – Cidco Link Road, Village – CIDCO, Taluka – Nashik, District – Nashik, Pin Code – 422 009, State - Maharashtra, Country – India belongs. Name of Proposed Purchaser: **Shri. Dipyash Bapu Pawar & Sau. Archana Bapu Pawar.** Name of Owner: **Sau. Pratibha Satyavijay Ohol.**

This is to certify that on visual inspection, it appears that the structure of **Tenement No. N-53/ VH/ 29/ 04** is in Poor condition and the future life can be reasonably takes under normal condition and with proper periodic repairs & maintenance is about 25 years.

**General Information**:

|  |  |
| --- | --- |
| **A.** | **Introduction** |
| 1 | Name of Building | **"Tenement No. N-53/ VH/ 29/ 04"** |
| 2 | Property Address | Residential Land and House on **Tenement No. N-53/ VH/ 29/ 04**, Ground Floor, Fifth Scheme, Neighborhood Vaishakh Sector VH, Near Shree Swami Samarth Kendra - Patil Nagar, Trimurti Chowk, off Ambad – Cidco Link Road, Village – CIDCO, Taluka – Nashik, District – Nashik, Pin Code – 422 009, State - Maharashtra, Country – India. |
| 3 | Type of Building | Residential  |
| 4 | No. of Floors | Ground Floor |
| 5 | Whether stilt / podium / open parking provided | Open Car Parking |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 6’ thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 1990 (As per Possession Receipt) |
| 11 | Present age of building | 35 years |
| 12 | Residual age of the building | 25 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of Units | **Tenement No. N-53/ VH/ 29/ 04** |
| 14 | Methodology adopted | As per visual site inspection  |

|  |  |
| --- | --- |
| **B.** | **External Observation of the Building** |
| 1 | Plaster | Average |
| 2 | Chajjas | Average |
| 3 | Plumbing | Average |
| 4 | Cracks on the external walls | Not Found |
| 5 | Filling cracks on the external walls | Not Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Found |
| 9 | Dampness external in the wall due to leakages | Found |
| 10 | Any other observation about the condition of external side of the building | The external condition of the structure is in Poor condition |
| **C** | **Internal Observation of the common areas of the building and captioned premises** |
| 1 | Beams (Cracks & Leakages) | Not Found |
| 2 | Columns (Cracks & Leakages) | Not Found |
| 3 | Ceiling (Cracks & Leakages) | Not Found |
| 4 | Leakages inside the property | Found |
| 5 | Painting inside the property | Good |
| 6 | Maintenance of staircase & cracks | Good |
| **D** | **Common Observation** |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules)  | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | Structure Condition is Very Poor. |

|  |  |
| --- | --- |
| **E** | **Conclusion** |
| The captioned Flat is having Groundfloor which are constructed in year 1990 (As per Possession Receipt). Estimated future life under present circumstances is about 25 years’ subject to proper, preventive periodic maintenance & structural repairs.The inspection dated 27.01.2025 reveals no structural damage or deterioration to the building. The building as well as the property is maintained in Average condition & will stand future life subject to proper, preventive periodic maintenance & Average structural repairs.Our Observations about the structure are given above.The above assessment is based on visual inspection only. |

**Manoj B. Chalikwar**

Registered Valuer

Chartered Engineer (India)

Reg. No. CAT-I-F-1763

Reg. No. IBBI/RV/07/2018/10366

BOB Empanelment No.: ZO:MZ:ADV:46:941

Encl: Valuation Report.

**Actual site photographs**







**=**