Vastu/Mumbai/02/2025/013695/2310072
16/05-191-PRRJ
 Date: 20.02.2025

**Structural Stability Report**

Structural Observation Report of Residential Flat No. 22, 3rd Floor, Wing - B, **"Rose Blossom Co-Op. Hsg. Soc. Ltd. ",** Plot No. 24, Final Plot No. 648 of TPS No. III, Mahim Road, Mahim Division, Mumbai - 400 016, State - Maharashtra, Country – India.

Name of Client / Proposed Purchaser: **Ms. Gautami Mahajan & Mr. Aniket Parkar**

Name of Owner: **Mr. Sudhir Jaywant Tanak**

This is to certify that on visual inspection, it appears that the structure at **" Rose Blossom Co-Op. Hsg. Soc. Ltd."** is in good condition and the future life can be reasonably taken under normal condition and with proper periodic repairs & maintenance is about 20 years.

**General Information**:

|  |  |
| --- | --- |
| **A.** | **Introduction** |
| 1 | Name of Building | **“Rose Blossom Co-Op. Hsg. Soc. Ltd.”** |
| 2 | Property Address | Residential Flat No. 22, 3rd Floor, Wing - B, **"Rose Blossom Co-Op. Hsg. Soc. Ltd. ",** Plot No. 24, Final Plot No. 648 of TPS No. III, Mahim Road, Mahim Division, Mumbai - 400 016, State - Maharashtra, Country – India. |
| 3 | Type of Building | Residential  |
| 4 | No. of Floors | Ground + 3 Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Open Parking Space No |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 1965 (Approx.) |
| 11 | Present age of building | 60 years |
| 12 | Expected balance lift of the building | 20 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of flats (Per Floor) | 3rd Floor is having 4 Flats |
| 14 | Methodology adopted | As per visual site inspection  |

|  |  |
| --- | --- |
| **B.** | **External Observation of the Building** |
| 1 | Plaster | Normal Condition |
| 2 | Chajjas | Normal Condition |
| 3 | Plumbing | Normal Condition |
| 4 | Cracks on the external walls | Not Found |
| 5 | Filling cracks on the external walls | Not Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not Found |
| 9 | Dampness external in the wall due to leakages | Not Found |
| 10 | Any other observation about the condition of external side of the building | Structural Stability Report from licensed structural engineers not provided for our verification. |
| **C** | **Internal Observation of the common areas of the building and captioned premises** |
| 1 | Beams (Cracks & Leakages) | Not Found  |
| 2 | Columns (Cracks & Leakages) | Not Found |
| 3 | Ceiling (Cracks & Leakages) | Not Found |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | Good Condition |
| 6 | Maintenance of staircase & cracks | Normal |

|  |  |
| --- | --- |
| **D** | **Common Observation** |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules)  | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | 1. **At the time of site inspection, external condition of the building is in normal condition, dampness not found, leakages are not found & Cracks are not found.**
2. **Structural Stability Report from licensed structural engineers not provided for our verification.**
3. **Total Life Span of R.C.C Framed structure is considered 60 to 80 years, but life of building is already completed 59 years. As per site inspection, building is structurally repaired & well maintained, future life can be 20 years, Subject to proper, preventive periodic maintenance & structural repairs. The structural Engineers Certificate should be revalidated every three years.**
 |

|  |  |
| --- | --- |
| **E** | **Conclusion** |
| The captioned building is having Ground + 3 Upper Floors which are constructed in year 1965 (Approx.). Estimated future life under present circumstances is about 20 years subject to proper, preventive periodic maintenance & structural repairs.The inspection dated 28.12.2024 of building. The building is well as the property is maintained in normal condition & will stand future life subject to proper, preventive periodic maintenance & Good structural repairs.Our Observations about the structure are given above.The above assessment is based on visual inspection only. Separate structural audit from licensed structural engineers is advised to assess exact balance life of structure.  |

## Manoj Chalikwar

Structural Engineer Licence No. STATE/R/2025/APL/15680

Govt. Reg. Valuer

Chartered Engineer (India)

Reg. No. IBBI/RV/07/2018/10366

State Bank of India Empanelment No.: SME/TCC/38/IBBI/3

**Actual site photographs**





