Vastu/Mumbai/01/2024/013483/2309930  
04/14-49-SK  
 Date: 27.12.2024

**Structural Stability Report**

Structural Observation Report of Residential Duplex Flat No. 604 & 704, 6th Floor, Building No. C-1, **“Mrudung Lok Puram Co-Op. Hsg. Soc. Ltd.”,** Village – Majiwade, Pokhran Road No. 2, Thane (West), Tal & Dist. – Thane, PIN – 400 610, Maharashtra, India.

Name of Owner: **Mr. Atul Babubhai Dave & Mrs. Sunita Atul Dave.**

Name of Proposed Purchaser: **Ms. Amruta Rajendra Ganjave & Mr. Omkar Sanjay Kelkar**

This is to certify that on visual inspection, it appears that the structure of the at **“Mrudung Lok Puram Co-Op. Hsg. Soc. Ltd. "**, is in normal condition and the future life can be reasonably taken under normal condition and with proper periodic repairs & maintenance is about 25 years.

**General Information**:

|  |  |  |
| --- | --- | --- |
| **A.** | **Introduction** | |
| 1 | Name of Building | Mrudung Lok Puram Co-Op. Hsg. Soc. Ltd. |
| 2 | Property Address | Residential Duplex Flat No. 604 & 704, 6th & 7th Floor, Building No. C-1, **“Mrudung Lok Puram Co-Op. Hsg. Soc. Ltd.”,** Village – Majiwade, Pokhran Road No. 2, Thane (West), Tal & Dist. – Thane, PIN – 400 610, Maharashtra, India. |
| 3 | Type of Building | Residential used |
| 4 | No. of Floors | Ground + 7th Upper Floors |
| 5 | Whether stilt / podium / open parking provided | Open Car Parking Space |
| 6 | Type of Construction | R.C.C. Framed Structure |
| 7 | Type of Foundation | R.C.C. Footing |
| 8 | Thickness of the External Walls | 9” thick brick walls both sides plastered |
| 9 | Type of Compound | Brick Masonry Walls |
| 10 | Year of Construction | 1989 (As Per Occupancy Certificate) |
| 11 | Present age of building | 35 years |
| 12 | Residual age of the building | 25 years Subject to proper, preventive periodic maintenance & structural repairs. |
| 13 | No. of flats (Per Floor) | Residential Duplex Flat No. 604 & 704 |
| 14 | Methodology adopted | As per visual site inspection |

|  |  |  |
| --- | --- | --- |
| **B.** | **External Observation of the Building** | |
| 1 | Plaster | Not Found |
| 2 | Chajjas | Not Found |
| 3 | Plumbing | Not Found |
| 4 | Cracks on the external walls | Not Found |
| 5 | Filling cracks on the external walls | Not Found |
| 6 | Cracks on columns & beams | Not Found |
| 7 | Vegetation | Not Found |
| 8 | Leakages of water in the drainage pipes or water pipes | Not Found |
| 9 | Dampness external in the wall due to leakages | Not Found |
| 10 | Any other observation about the condition of external side of the building | Structural Stability Report from licensed structural engineers not provided for our verification. |
| **C** | **Internal Observation of the common areas of the building and captioned premises** | |
| 1 | Beams (Cracks & Leakages) | Not Found |
| 2 | Columns (Cracks & Leakages) | Not Found |
| 3 | Ceiling (Cracks & Leakages) | Not Found |
| 4 | Leakages inside the property | Not Found |
| 5 | Painting inside the property | Normal Condition |
| 6 | Maintenance of staircase & cracks | Normal |

|  |  |  |
| --- | --- | --- |
| **D** | **Common Observation** | |
| 1 | Structural Audit of the Building Under Bye – Laws No. 77 of the Model Bye Laws (Co-Operative Societies Act / Rules) | As per bye Laws No. 77 of Co-Op. Societies bye Laws under the Act the society shall conduct a Structural Audit of the building of the society as follows |
| 2 | Remark | No Structural Audit Report is furnished for the perusal. |

|  |  |
| --- | --- |
| **E** | **Conclusion** |
| The captioned building is having Ground + 7th Upper Floors which are constructed in year 1989 (As Per Occupancy Certificate) Estimated future life under present circumstances is about 25 years subject to proper, preventive periodic maintenance & structural repairs.  The inspection dated 14.12.2024 of building. The building is well as the property is maintained in normal condition & will stand future life subject to proper, preventive periodic maintenance & normal structural repairs.  Our Observations about the structure are given above.  The above assessment is based on visual inspection only. Separate structural audit from licensed structural engineers is advised to assess exact balance life of structure. | |

## Sharadkumar B. Chalikwar

Structural Engineer Licence No. STATE/R/2022/APL/01785

Govt. Reg. Valuer

Chartered Engineer (India)

Reg No. (N) CCIT/1-14/52/2008-09

SBI Empanelment No.: SME / TCC / 2021 – 22 / 85 / 13

**Actual site Photographs**









**Actual site Photographs**





